## DaKu_PowerUseMod
ATCO Bill – Inflation Adjusted					All Building Daily			Total Degree Days			All Building Equipment – Heat Degree Day Metric				HVAC Only Equipment			HVAC – Heat Degree Day Metric			Total Building Cost to operate with previous years ($/HDD)		HVAC Cost to operate with previous years ($/HDD)		Relative Savings
Statement Date	Bill Type	Days	Original	Adjustment	Usage (kWh)	Demand (kW)	Base Rate ($)	YERS Rider (102.4%)	AEY Rider (14.38%)	Adjusted Total ($)		Usage per Day ($)	Usage per Day (kWh/d)	Heat Pump Heating Offset	Cooling (CDD)	Heating (HDD)		HDD Performance (kWh/HDD)	Cost Intensity ($/HDD)	HDD Demand Ratio (kW/HDD)		HVAC Load %	HVAC Usage (kWh)	Total Cost $	HDD Performance (kWh/HDD)	Cost Intensity ($/HDD)		@ 2024 – Cost Intensity	@ 2023 – Cost Intensity	@ 2024 – Cost Intensity	@ 2023 – Cost Intensity	Building		HVAC
2025 Totals					283,500	88	$45,258.44	$46,344.64	$6,508.16	$98,111.24					93	8352					180,033	$66,765.07				$147,372.64	$158,849.61	$115,843.22	$126,560.73	$54,999.88		$54,436.91
Avg Load (kWa)					23,625	88	$3,782.79	$3,873.57	$543.96	$8,200.32		$270.68	782		31	992		26	$8.92	0.10		62.65%	15,003	$5,563.76	16	$6.01		$12,281.05	$13,237.47	$9,653.60	$10,546.73	$4,583.32	34.15%	$4,536.41	43.09%
Avg Base Load (kWa)					8,622		$1,052.94	$1,078.21	$151.41	$2,282.57
Avg HVAC Load (kWa)					15,003		$1,874.84	$1,919.84	$269.60	$4,064.28
2025-12-02	EST	34	28,400	-5,000	23,400	83.6	$3,722.44	$3,811.78	$535.29	$8,069.51		$237.34	688	0	0	1450		16	$5.57	0.06		63.15%	14,778	$5,340.55	10	$3.68		$17,051.43	$17,498.08	$13,503.63	$13,812.99	$9,205.24	53.29%	$8,317.76	60.90%
2025-11-05	ACT	27	16,800		16,800	84	$2,780.64	$2,847.38	$399.86	$6,027.87		$223.25	622	0	0	674		25	$8.94	0.12		48.68%	8,178	$3,504.16	12	$5.20		$13,068.81	$13,475.12	$10,544.57	$10,818.93	$7,244.09	54.58%	$7,177.59	67.19%
2025-10-03	ACT	33	21,200	-2,500	18,700	87.6	$3,108.58	$3,183.19	$447.01	$6,738.79	HP Heating	$204.21	567	0	0	474		39	$14.23	0.19		53.89%	10,078	$4,092.33	21	$8.64		$11,356.69	$12,692.78	$8,809.35	$9,938.97	$5,285.94	43.96%	$5,281.83	56.34%
2025-09-03	ACT	30	23,400	-1,500	21,900	87.6	$3,559.10	$3,644.52	$511.80	$7,715.43		$257.18	730	0	13	316		67	$23.44	0.28		60.63%	13,278	$4,985.81	40	$15.15		$16,965.84	$15,540.97	$13,685.18	$12,526.51	$8,537.98	52.53%	$8,120.03	61.96%
2025-08-01	ACT	33	23,400	2,500	25,900	87.6	$4,073.50	$4,171.27	$585.77	$8,830.54		$267.59	785	0	42	185		114	$38.85	0.47		66.71%	17,278	$6,249.81	76	$27.50		$11,933.78	$16,232.60	$9,373.52	$13,164.88	$5,252.65	37.30%	$5,019.39	44.54%
2025-07-04	EST	28	27,800	-2,500	25,300	90.6	$4,018.51	$4,114.96	$577.86	$8,711.33		$311.12	904	0	39	142		140	$48.24	0.64		65.92%	16,678	$6,091.58	92	$33.73		$11,148.61	$15,192.80	$8,660.89	$12,594.91	$4,459.37	33.86%	$4,536.32	42.68%
2025-06-03	ACT	31	30,200	-3,500	26,700	90.6	$4,198.55	$4,299.32	$603.75	$9,101.63	HP Heating	$293.60	861	0	0	289		92	$31.53	0.31		67.71%	18,078	$6,572.92	63	$22.77		$9,958.67	$13,577.62	$7,602.31	$10,776.06	$2,666.52	22.66%	$2,616.27	28.47%
2025-05-02	ACT	32	25,000		25,000	87.6	$3,957.76	$4,052.75	$569.13	$8,579.64		$268.11	781	0	0	556		45	$15.43	0.16		65.51%	16,378	$5,940.38	29	$10.68		$11,872.74	$10,655.18	$9,494.27	$8,152.49	$2,684.32	23.83%	$2,883.00	32.67%
2025-04-03	ACT	29	20,200		20,200	87.6	$3,340.48	$3,420.66	$480.36	$7,241.50		$249.71	697	0	0	812		25	$8.91	0.11		57.32%	11,578	$4,511.15	14	$5.55		$8,917.44	$10,214.43	$6,258.69	$7,935.84	$2,324.43	24.30%	$2,586.11	36.44%
2025-03-04	ACT	30	24,800		24,800	87.6	$3,932.04	$4,026.41	$565.43	$8,523.88		$284.13	827	0	0	1143		22	$7.46	0.08		65.23%	16,178	$5,871.62	14	$5.14		$11,106.48	$12,357.50	$8,666.06	$10,033.72	$3,208.11	27.34%	$3,478.27	37.20%
2025-02-03	ACT	29	27,200		27,200	87.6	$4,240.68	$4,342.46	$609.81	$9,192.95		$317.00	938	0	0	1221		22	$7.53	0.07		68.30%	18,578	$6,696.77	15	$5.48		$13,191.29	$10,188.69	$10,833.54	$7,927.55	$2,497.04	21.36%	$2,683.78	28.61%
2025-01-06	ACT	28	27,600		27,600	92.2	$4,326.12	$4,429.94	$622.10	$9,378.16		$334.93	986	0	0	1089		25	$8.61	0.08		68.76%	18,978	$6,907.98	17	$6.34		$10,800.86	$11,223.84	$8,411.21	$8,877.89	$1,634.19	14.84%	$1,736.56	20.09%
2025 Totals					412,600	93	$62,411.02	$63,908.88	$8,974.70	$135,294.60				0	100	7721					309,133	$106,240.70				$146,476.95		$116,673.01		$11,182.35		$10,432.31
Avg Load (kWa)					34,383	93	$5,200.92	$5,325.74	$747.89	$11,274.55		$370.77	1131	0	33	922		41	$13.41	0.11		74.52%	25,761	$8,853.39	31	$10.56		$12,206.41		$9,722.75		$931.86		$869.36
Avg Base Load (kWa)					8,622		$1,052.94	$1,078.21	$151.41	$2,282.57
Avg HVAC Load (kWa)					25,761		$3,408.28	$3,490.08	$490.11	$7,388.47
2024-12-04	ACT	33	35,400		35,400	92.2	$5,329.20	$5,457.10	$766.34	$11,552.64		$350.08	1073	0	0	982		36	$11.76	0.09		75.64%	26,778	$9,148.94	27	$9.31		$11,855.25		$9,358.54		$302.62	2.55%	$209.60	2.24%
2024-11-04	ACT	30	38,600		38,600	92.2	$5,740.72	$5,878.50	$825.52	$12,444.73		$414.82	1287	0	0	642		60	$19.38	0.14		77.66%	29,978	$10,041.03	47	$15.64		$12,831.64		$10,302.29		$386.91	3.02%	$261.25	2.54%
2024-10-09	ACT	26	30,400	2,000	32,400	92.2	$4,943.40	$5,062.04	$710.86	$10,716.30		$412.17	1246	0	1	446		73	$23.98	0.21		73.39%	23,778	$8,312.60	53	$18.60		$11,977.05		$9,378.52		$1,260.75	10.53%	$1,065.92	11.37%
2024-09-04	EST	35	40,400	-2,000	38,400	94.8	$5,734.21	$5,871.83	$824.58	$12,430.62		$355.16	1097	0	15	226		159	$51.54	0.42		77.55%	29,778	$10,026.93	123	$41.57		$11,386.64		$9,177.99		-$1,043.98	-9.17%	-$848.94	-9.25%
2024-08-05	ACT	30	34,000		34,000	94.8	$5,168.37	$5,292.41	$743.21	$11,204.00		$373.47	1133	0	48	165		159	$52.50	0.57		74.64%	25,378	$8,800.30	119	$41.24		$15,239.93		$12,359.81		$4,035.93	26.48%	$3,559.51	28.80%
2024-07-04	EST	32	28,600	4,000	32,600	92.2	$4,969.12	$5,088.38	$714.56	$10,772.05		$336.63	1019	0	36	139		187	$61.73	0.66		73.55%	23,978	$8,368.36	137	$47.96		$14,679.64		$12,169.50		$3,907.59	26.62%	$3,801.14	31.23%
2024-06-04	EST	30	34,400	-4,000	30,400	92.2	$4,686.20	$4,798.67	$673.88	$10,158.74		$338.62	1013	0	0	295		103	$34.49	0.31		71.64%	21,778	$7,755.04	74	$26.33		$13,850.40		$10,992.55		$3,691.66	26.65%	$3,237.51	29.45%
2024-05-07	ACT	28	37,000		37,000	92.2	$5,534.96	$5,667.80	$795.93	$11,998.68		$428.52	1321	0	0	562		66	$21.35	0.16		76.70%	28,378	$9,594.99	50	$17.07		$10,768.20		$8,238.97		-$1,230.48	-11.43%	-$1,356.02	-16.46%
2024-04-04	ACT	33	25,400		25,400	92.2	$4,043.20	$4,140.23	$581.41	$8,764.84		$265.60	770	0	0	798		32	$10.98	0.12		66.05%	16,778	$6,151.60	21	$7.70		$10,039.64		$7,800.04		$1,274.79	12.70%	$1,648.45	21.13%
2024-03-05	ACT	30	33,200		33,200	92.2	$5,046.28	$5,167.39	$725.65	$10,939.32		$364.64	1107	0	0	1126		29	$9.72	0.08		74.03%	24,578	$8,535.63	22	$7.58		$12,171.51		$9,882.71		$1,232.19	10.12%	$1,347.08	13.63%
2024-02-06	ACT	28	42,200		42,200	92.2	$6,203.68	$6,352.57	$892.09	$13,448.33		$480.30	1507	0	0	1245		34	$10.80	0.07		79.57%	33,578	$11,044.64	27	$8.87		$10,387.23		$8,082.02		-$3,061.10	-29.47%	-$2,962.62	-36.66%
2024-01-04	ACT	33	33,000		33,000	91	$5,011.69	$5,131.97	$720.68	$10,864.34		$329.22	1000	0	0	1095		30	$9.92	0.08		73.87%	24,378	$8,460.65	22	$7.72		$11,289.81		$8,930.07		$425.47	3.77%	$469.42	5.26%
2025 Totals					433,200	96	$65,332.13	$66,900.10	$9,394.76	$141,626.99				0	149	7663					329,733	$112,782.64
Avg Load (kWa)					36,100	96	$5,444.34	$5,575.01	$782.90	$11,802.25		$391.42	1197	0	49	935		41	$13.32	0.11		75.91%	27,478	$9,398.55	31	$10.49
Avg Base Load (kWa)					8,622		$1,052.94	$1,078.21	$151.41	$2,282.57
Avg HVAC Load (kWa)					27,478		$3,629.04	$3,716.14	$521.86	$7,867.04
2023-12-04	ACT	31	35,200		35,200	87	$5,265.05	$5,391.41	$757.11	$11,413.58		$368.18	1135	0	0	946		37	$12.07	0.09		75.51%	26,578	$9,009.88	28	$9.53
2023-11-03	ACT	31	38,000		38,000	87	$5,625.13	$5,760.13	$808.89	$12,194.16		$393.36	1226	0	0	610		62	$19.98	0.14		77.31%	29,378	$9,790.46	48	$16.04
2023-10-04	EST	30	34,000		34,000	87	$5,110.73	$5,233.39	$734.92	$11,079.04		$369.30	1133	0	1	413		82	$26.81	0.21		74.64%	25,378	$8,675.35	61	$20.99
2023-09-07	EST	27	32,400	6,000	38,400	92.4	$5,716.48	$5,853.67	$822.03	$12,392.18		$458.97	1422	0	22	240		146	$47.21	0.38		77.55%	29,778	$9,988.48	113	$38.05
2023-08-03	EST	35	38,400		38,400	112.8	$5,867.23	$6,008.05	$843.71	$12,718.99		$363.40	1097	0	65	113		216	$71.41	1.00		77.55%	29,778	$10,315.29	167	$57.92
2023-07-04	EST	30	43,200		43,200	112.8	$6,484.51	$6,640.14	$932.47	$14,057.13		$468.57	1440	0	58	109		259	$84.12	1.04		80.04%	34,578	$11,653.43	207	$69.74
2023-06-02	ACT	32	35,000		35,000	105.2	$5,373.83	$5,502.80	$772.76	$11,649.38		$364.04	1094	0	2	246		143	$47.03	0.43		75.37%	26,378	$9,245.69	106	$37.33
2023-05-04	ACT	29	30,600		30,600	93.4	$4,720.79	$4,834.08	$678.85	$10,233.72		$352.89	1055	0	0	534		57	$19.16	0.17		71.82%	21,978	$7,830.02	41	$14.66
2023-04-04	EST	30	32,600		32,600	92.4	$4,970.60	$5,089.89	$714.77	$10,775.26		$359.18	1087	0	0	857		38	$12.57	0.11		73.55%	23,978	$8,371.56	28	$9.77
2023-03-02	ACT	33	39,800		39,800	92.4	$5,896.52	$6,038.03	$847.92	$12,782.47		$387.35	1206	0	0	1182		34	$10.81	0.08		78.34%	31,178	$10,378.77	26	$8.78
2023-02-03	ACT	27	32,800		32,800	92.4	$4,996.32	$5,116.23	$718.47	$10,831.01		$401.15	1215	0	0	1298		25	$8.34	0.07		73.71%	24,178	$8,427.32	19	$6.49
2023-01-06	ACT	28	35,200		35,200	92.4	$5,304.96	$5,432.27	$762.85	$11,500.08		$410.72	1257	0	0	1116		32	$10.31	0.08		75.51%	26,578	$9,096.39	24	$8.15

	Average				34488.8888888889					17	920
	Base Load				8622.22222222222

				8750